# APR 2026 version

ID:

| Joint-Directed Immunomodulatory Low-Dose Radiation Prescription for Arthritis |  |  |  |  |
| --- | --- | --- | --- | --- |
| BEAM | PATELLAR (Field 1) | PLOPLITEAL (Field 2) | LATERAL (Field 3) | MEDIAL (Field 3) |
| Site | KNEE |  |  |  |
| Laterality | LEFT |  |  |  |
| Verified Rx in Sensus EMR |  |  |  |  |
| Cumulative dose per course | 3 Gy/course (300 cGy/course) prescribed to midplane |  |  |  |
| Dose per FRACTION | 0.50 Gy/fx ¦ ( 50 cGy/fx) prescribed to midplane |  |  |  |
| Cumulative dose per Beam | 1.5 Gy per beam | 1.5 Gy per beam | 1.5 Gy per beam | 1.5 Gy per beam |
| Beam Waiting | 50% | 50% | 50% | 50% |
| Dose per fraction per beam | 0.25 Gy per fraction per beam | 0.25 Gy per fraction per beam | 0.25 Gy per fraction per beam | 0.25 Gy per fraction per beam |
| Time (minutes) |  |  |  |  |
| Total Fraction no. | 6 fractions | 6 fractions | 6 fractions | 6 fractions |
| SSD w/in applicator | 10 cm applicator - 25 cm SSD | 10 cm applicator - 25 cm SSD | 10 cm applicator - 25 cm SSD | 10 cm applicator - 25 cm SSD |
| SSD lid | Lead - 1 cm SSD | Lead - 1 cm SSD | Lead - 1 cm SSD | Lead - 1 cm SSD |
| SSD (cm) within box |  |  |  |  |
| Caliper Measurement |  |  |  |  |
| Total SSD (cm) | _cm (box) + _cm (lid) + _ cm (applicator) =_ cm | _cm (box) + _cm (lid) + _ cm (applicator) =_ cm | _cm (box) + _cm (lid) + _ cm (applicator) =_ cm | _cm (box) + _cm (lid) + _ cm (applicator) =_ cm |
| Energy | 100 kV | 100 kV | 100 kV | 100 kV |
| Extended SSD Reference Data |  |  |  |  |
| Corrected Dose Calculation |  |  |  |  |
| Applicator size | 18 x 8 cm | 18 x 8 cm | 18 x 8 cm | 18 x 8 cm |
| Margin | mm | mm | mm | mm |
| Technique | Superficial XRT | Superficial XRT | Superficial XRT | Superficial XRT |
| Lead Shield #1 Size |  |  |  |  |
| Lead Shield #2 Size |  |  |  |  |
| Lead Shield #3 Size |  |  |  |  |
| Thyroid Shield | YES | YES | YES | YES |
| Lead Apron | YES | YES | YES | YES |
| Nasal Bullet | None | None | None | None |
| Eye Shield Interior | None | None | None | None |
| Eye Shield Exterior | None | None | None | None |
| Lead Glasses | YES | YES | YES | YES |
| Dose Rate | per plan | per plan | per plan | per plan |
| Beam Arrangement | En Face Kilovoltage Photons | En Face Kilovoltage Photons | En Face Kilovoltage Photons | En Face Kilovoltage Photons |
| Technique | Depth-Enabled Epidermal Sparing Superficial XRT | Depth-Enabled Epidermal Sparing Superficial XRT | Depth-Enabled Epidermal Sparing Superficial XRT | Depth-Enabled Epidermal Sparing Superficial XRT |
| Beam Weighing | % | % | % | % |
| Fractions per day | 1 | 1 | 1 | 1 |
| Fractions per week | 2 or 3 | 2or 3 | 2 or 3 | 2or 3 |
| Single or Multi phase/beam | Single Phase Multibeam | Single Phase Multibeam | Single Phase Multibeam | Single Phase Multibeam |
| Synchronous vs Sequential | Sequential | Sequential | Sequential | Sequential |
| Plan Type | 2DCRT - Clinical Setup | 2DCRT - Clinical Setup | 2DCRT - Clinical Setup | 2DCRT - Clinical Setup |
| Beam Arrangement | APPA |  |  |  |
| Imaging | Daily X-ray: 100 kV w/ filter and treatment shield in place (for image guidance) | Daily X-ray: 100 kV w/ filter and treatment shield in place (for image guidance) | Daily X-ray: 100 kV w/ filter and treatment shield in place (for image guidance) | Daily X-ray: 100 kV w/ filter and treatment shield in place (for image guidance) |
| Image-guidance Code | 77387 X-ray Guidance | 77387 X-ray Guidance | 77387 X-ray Guidance | 77387 X-ray Guidance |
| Alignment | Align field visually Confirm radiographically | Align field visually Confirm radiographically | Align field visually Confirm radiographically | Align field visually Confirm radiographically |
| In Vivo Dosimetry/Film (77331) | YES | YES | YES | YES |
| **GRID | NO | NO | NO | NO |
| **Concurrent Therapy | NO | NO | NO | NO |
| **Pre-Authorized | NA | NA | NA | NA |
| SIM ORDER Drawn Target on RADIOGRAPH (Sim order photos with margins drawn by RadOnc) |  |  |  |  |
| Sim Image: Inked Target |  |  |  |  |
| Sim Image: Side nozzle view |  |  |  |  |
| Boxtop: Beam’s Eye View |  |  |  |  |
| SSD photographs |  |  |  |  |
| Image-Guidance DICOM Radiograph as seen in PACS |  |  |  |  |
| Electronically Signed by: | Clayton B. Hess, MD, MPH Radiation Oncologist |  |  |  |
| Date Ordered: | Mar 31, 2026 |  |  |  |

# FEB 2026 version

ID:

| Joint-Directed Immunomodulatory Low-Dose Radiation Prescription for Arthritis |  |  |  |  |
| --- | --- | --- | --- | --- |
| BEAM | PATELLAR (Field 1) | PLOPLITEAL (Field 2) | LATERAL (Field 3) | MEDIAL (Field 3) |
| Site | KNEE |  |  |  |
| Laterality | LEFT |  |  |  |
| Consult Images |  |  |  |  |
| Caliper Measurement (relevant to beam angle) | _cm Photo | _cm Photo | _cm Photo | _cm Photo |
| SIM ORDER Drawn Target on RADIOGRAPH (Sim order photos with margins drawn by RadOnc) |  |  |  |  |
| Sim Image: Inked Target |  |  |  |  |
| Sim Image: Size nozzle view |  |  |  |  |
| Boxtop: Beam’s Eye View |  |  |  |  |
| Light field showing smallest SSD to fit shield |  |  |  |  |
| Image-Guidance DICOM Radiograph as seen in PACS |  |  |  |  |
| Verified Rx in Sensus EMR |  |  |  |  |
| Energy | 100 kV | 100 kV | 100 kV | 100 kV |
| Dose per PHASE | Gy ¦ (cGy) | Gy ¦ (cGy) | Gy ¦ (cGy) | Gy ¦ (cGy) |
| Dose per FRACTION | 0.50 Gy/fx ¦ ( 50 cGy/fx) prescribed to midplane | 0.50 Gy/fx ¦ ( 50 cGy/fx) prescribed to midplane | 0.50 Gy/fx ¦ ( 50 cGy/fx) prescribed to midplane | 0.50 Gy/fx ¦ ( 50 cGy/fx) prescribed to midplane |
| Cumulative DOSE | 3 Gy/course (300 cGy/course) prescribed to midplane | 3 Gy/course (300 cGy/course) prescribed to midplane | 3 Gy/course (300 cGy/course) prescribed to midplane | 3 Gy/course (300 cGy/course) prescribed to midplane |
| Total Fraction no. | 6 fractions | 6 fractions | 6 fractions | 6 fractions |
| SSD w/in applicator | 30 cm | 30 cm | 30 cm | 30 cm |
| SSD (cm) within box | _ cm | _ cm | _ cm | _ cm |
| Total SSD (cm) | _ cm | _ cm | _ cm | _ cm |
| Extended SSD Reference Data |  |  |  |  |
| Corrected Dose Calculation | _ cGy * 1/_ * _= _ cGy | _ cGy * 1/_ * _= _ cGy | _ cGy * 1/_ * _= _ cGy | _ cGy * 1/_ * _= _ cGy |
| Applicator size | 18 x 8 cm | 18 x 8 cm | 18 x 8 cm | 18 x 8 cm |
| Technique | Superficial XRT | Superficial XRT | Superficial XRT | Superficial XRT |
| Lead Shield #1 Size | lead shield (L1 ,L2) | lead shield (L1 ,L2) | lead shield (L1 ,L2) | lead shield (L1 ,L2) |
| Lead Shield #2 Size | None | None | None | None |
| Lead Shield #3 Size | None | None | None | None |
| Thyroid Shield over neck | YES | YES | YES | YES |
| Lead Apron over patient | YES | YES | YES | YES |
| Lead Apron over box | YES | YES | YES | YES |
| Eye Shield Interior | None | None | None | None |
| Eye Shield Exterior | None | None | None | None |
| Lead Glasses | YES | YES | YES | YES |
| Dose Rate | per plan | per plan | per plan | per plan |
| Beam Arrangement | En Face Kilovoltage Photons | En Face Kilovoltage Photons | En Face Kilovoltage Photons | En Face Kilovoltage Photons |
| Technique | Depth-Enabled Epidermal Sparing Superficial XRT | Depth-Enabled Epidermal Sparing Superficial XRT | Depth-Enabled Epidermal Sparing Superficial XRT | Depth-Enabled Epidermal Sparing Superficial XRT |
| Fractions per day | 1 | 1 | 1 | 1 |
| Fractions per week | 2 | 2 | 2 | 2 |
| Single or Multi phase/beam | Single Phase Multibeam | Single Phase Multibeam | Single Phase Multibeam | Single Phase Multibeam |
| Synchronous vs Sequential | Sequential | Sequential | Sequential | Sequential |
| Estimated tumor a/b* | 10 | 10 | 10 | 10 |
| EQD2 for tumor (a/b_10) EQD2 for OARs (a/b_3) BED for tumor (a/b_10) BED for OARs (a/b_3) |  |  |  |  |
| Plan Type | 2DCRT - Clinical Setup | 2DCRT - Clinical Setup | 2DCRT - Clinical Setup | 2DCRT - Clinical Setup |
| Beam Arrangement | APPA |  |  |  |
| Imaging | DAILY X-ray: 100 kV w/ filter and treatment shield in place (for image guidance) | DAILY X-ray: 100 kV w/ filter and treatment shield in place (for image guidance) | DAILY X-ray: 100 kV w/ filter and treatment shield in place (for image guidance) | DAILY X-ray: 100 kV w/ filter and treatment shield in place (for image guidance) |
| kV Imaging Review | Reviewed by MD | Reviewed by MD | Reviewed by MD | Reviewed by MD |
| Image-guidance Code | 77387 (X-ray Image-Guidance) | 77387 (X-ray Image-Guidance) | 77387 (X-ray Image-Guidance) | 77387 (X-ray Image-Guidance) |
| Alignment | Align field visually Confirm radiographically | Align field visually Confirm radiographically | Align field visually Confirm radiographically | Align field visually Confirm radiographically |
| In Vivo Dosimetry (77331) | NO | NO | NO | NO |
| **GRID | NO | NO | NO | NO |
| **Concurrent Therapy | NO | NO | NO | NO |
| **Pre-Authorized | NA | NA | NA | NA |
| Electronically Signed by: | Clayton B. Hess, MD, MPH Radiation Oncologist |  |  |  |
| Date Ordered: | Feb 24, 2026 12:00 PM |  |  |  |