# FEB 2026 version

ID: _

| (PARAMETERS) | PHASE I | PHASE II |
| --- | --- | --- |
| Site | HAND (PALM) |  |
| Laterality | RIGHT |  |
| Verified Rx in Sensus EMR |  |  |
| Cumulative DOSE | Gy ¦ (cGy) | Gy ¦ (cGy) |
| Dose per PHASE | Gy ¦ (cGy) | Gy ¦ (cGy) |
| Dose per FRACTION | _ cGy/fx prescribed to ___ surface at extended SSD | _ cGy/fx prescribed to _ surface at extended SSD |
| Total Fraction no. | 5 fractions | 5 fractions |
| Time | _ minutes | _ minutes |
| Energy | 100 kV | 100 kV |
| SSD (for calculation) | SSD (for calculation) EXTENDED | SSD (for calculation) EXTENDED |
| SSD (cm) | 25cm (10cm applicator) vs. 30 cm (8x18cm applicator) + 10cm hand applicator = 35 vs 40 cm minus hand thickness | 25cm (10cm applicator) vs. 30 cm (8x18cm applicator) + 10cm hand applicator = 35 vs 40 cm minus hand thickness |
| Hand thickness (measured) | cm (by caliper) | cm (by caliper) |
| Hand thickness (for calculation) | Hand Thickness (for calculation) | Hand Thickness (for calculation) |
| Applicator size | Applicator Size | Applicator Size |
| SPECIAL PHYSICS CALCULATION |  |  |
| Margin | Custom | Custom |
| Technique | DEEP (Depth Enabled) Prescription Dose Specification | DEEP (Depth Enabled) Prescription Dose Specification |
| Lead Shield #1 Size | __ cm field EXTENDED SSD | __ cm field EXTENDED SSD |
| Lead Shield #2 Size | Leaded covering over hand applicator | Leaded covering over hand applicator |
| Lead Shield #3 Size | Shield #3 | Shield #3 |
| Thyroid Shield | YES | YES |
| Lead Apron | YES | YES |
| Nasal Bullet | None | None |
| Eye Shield Interior | None | None |
| Eye Shield Exterior | LEADED GLASSES LEADED covering over HAND APPLICATOR | LEADED GLASSES LEADED covering over HAND APPLICATOR |
| Lead Glasses | YES LEADED GLASSES LEADED covering over HAND APPLICATOR | YES LEADED GLASSES LEADED covering over HAND APPLICATOR |
| Dose Rate | per plan | per plan |
| Beam Arrangement | En Face Kilovoltage Photons | En Face Kilovoltage Photons |
| Shielding Design(s) | Custom | Custom |
| Fractions per day | 1 | 1 |
| Fractions per week | 5 THU (film) TUE, WED, THU, FRI | 5 THU (film) TUE, WED, THU, FRI |
| Single or Multi phase | Single Phase | Phase II 8 weeks later |
| Synchronous vs Sequential | Sequential | Sequential |
| Imaging (77439 US) | 20 mHz: Daily isodose tracking dose to depth 12 MhZ: Weekly for comprehensive IGSRT | 20 mHz: Daily isodose tracking dose to depth 12 MhZ: Weekly for comprehensive IGSRT |
| Alignment | Align drawn field | Align drawn field |
| Custom Block | NO | NO |
| Complex Shielding (77263) | NO | NO |
| In Vivo Dosimetry/Film | FILM on day 1 | FILM on day 1 |
| GRID (Spatial Fractionation) | NO | NO |
| Concurrent Therapy | NO | NO |
| Pre-Authorized | NA | NA |
| Consult Images |  |  |
| SIM ORDER Drawn Target |  |  |
| Sim Image: Inked Target |  |  |
| Sim Image: Shielded nozzle view |  |  |
| Sim Image: Side nozzle view |  |  |
| Depth of Target (DOT) (Ultrasound) | Depth of Target (DOT): _ |  |
| Estimated tumor a/b* | 10 | 10 |
| EQD2 for tumor (a/b_10) EQD2 for OARs (a/b_3) BED for tumor (a/b_10) BED for OARs (a/b_3) |  |  |
| Electronically Signed by: | Clayton B. Hess, MD, MPH Radiation Oncologist |  |
| Date Ordered: | Feb 24, 2026 |  |