# FEB 2026 version

ID: _

| (PARAMETERS) | PHASE I | PHASE II | PHASE III |
| --- | --- | --- | --- |
| Site |  |  |  |
| Laterality | LEFT |  |  |
| Verified Rx in Sensus EMR |  |  |  |
| Cumulative Dose | Gy ¦ (cGy) | Gy ¦ (cGy) | Gy ¦ (cGy) |
| Dose per FRACTION | Gy/fx ¦ (cGy/fx) | Gy/fx ¦ (cGy/fx) | Gy/fx ¦ (cGy/fx) |
| Total Fraction no. | fractions | fractions | fractions |
| Time (minutes) | _ minutes | _ minutes | _ minutes |
| SSD | 15 cm | 15 cm | 15 cm |
| Energy | 100 kV | 70 kV | 50 kV |
| Applicator size | Applicator Size | Applicator Size | Applicator Size |
| Margin | mm around lesion | mm around lesion | mm around lesion |
| Technique | Superficial XRT | Superficial XRT | Superficial XRT |
| Lead Shield #1 Size | Circle, Radius _ cm | Circle, Radius _ cm | Circle, Radius _ cm |
| Lead Shield #2 Size | Circle, Radius _ cm | Circle, Radius _ cm | Circle, Radius _ cm |
| Lead Shield #3 Size | Circle, Radius _ cm | Circle, Radius _ cm | Circle, Radius _ cm |
| Thyroid Shield | YES | YES | YES |
| Lead Apron | YES | YES | YES |
| Nasal Bullet | None | None | None |
| Eye Shield Interior | None | None | None |
| Eye Shield Exterior | None | None | None |
| Lead Glasses | YES | YES | YES |
| Dose Rate | per plan | per plan | per plan |
| Beam Arrangement | En Face Kilovoltage Photons | En Face Kilovoltage Photons | En Face Kilovoltage Photons |
| Technique | Superficial XRT | Superficial XRT | Superficial XRT |
| Shielding Design(s) |  |  |  |
| Fractions per day | 1 | 1 | 1 |
| Fractions per week | 1 | 1 | 1 |
| Single or Multi phase | Multi-phase | Multi-phase | Multi-phase |
| Standard Fractionation vs. Hypofractionation | Standard | Standard | Standard |
| Synchronous vs Sequential | Sequential | Sequential | Sequential |
| Imaging (77439 US) | 20 mHz: Daily isodose tracking dose to depth 50 MhZ: Weekly for comprehensive IGSRT | 20 mHz: Daily isodose tracking dose to depth 50 MhZ: Weekly for comprehensive IGSRT | 20 mHz: Daily isodose tracking dose to depth 50 MhZ: Weekly for comprehensive IGSRT |
| Alignment | Align lesion in center of field | Align lesion in center of field | Align lesion in center of field |
| Custom Block | NO | NO | NO |
| Complex Shielding (77263) | NO | NO | NO |
| In Vivo Dosimetry/Film | NO | NO | NO |
| GRID (Spatial Fractionation) | NO | NO | NO |
| Concurrent Therapy | NO | NO | NO |
| Prior RT | No prior RT | No prior RT | No prior RT |
| Pre-Authorized | NA | NA | NA |
| Consult Images |  |  |  |
| Outside Biopsy Image (if any available) |  |  |  |
| SIM ORDER Drawn Target |  |  |  |
| Sim Image: Inked Target |  |  |  |
| Sim Image: Shielded nozzle view |  |  |  |
| Sim Image: Side nozzle view |  |  |  |
| Depth of Target (DOT) (Ultrasound) | Depth of Target (DOT): _ |  |  |
| Estimated tumor a/b* | 10 | 10 | 10 |
| EQD2 for tumor (a/b_10) EQD2 for OARs (a/b_3) BED for tumor (a/b_10) BED for OARs (a/b_3) |  |  |  |
| Electronically Signed by: | Clayton B. Hess, MD, MPH Radiation Oncologist |  |  |
| Date Ordered: | Feb 24, 2026 |  |  |

# Tab 2